## Introduction
Introduction - Levelized Cost of Hydrogen (LCOH)
Overview
This workbook evaluates the Levelized Cost of Hydrogen (LCOH) for two PV-integrated hydrogen configurations serving an industrial coffee roasting application: Case 1 (30 bar low-pressure storage) and Case 2 (300 bar high-pressure storage). Technical and operational inputs originate from MATLAB/Simulink simulations and MILP optimization results. Annualized cost calculations and one-at-a-time and two-parameter sensitivity analyses are provided.
Agora Energiewende (2023)
Silva et.al. (2024)
Workbook Navigation
Economic Assumptions |  | Technical and economic assumptions
Case Inputs |  | Input data from Optimization results of the System. Case 1 represents low-pressure storage of hydrogen at 30 bar and Case 2 represents high-pressure storage of hydrogen at 300 bar.
Annualized Costs |  | Calculation of equivalent annual costs of system components, including annualized capital expenditures (CAPEX) and operating expenditures (OPEX)
LCOH |  | Cost calculations and LCOH calculations
OAT-Sensitivity |  | One-at-a-time (OAT) sensitivity analysis with ±20 % variation in base value; results interpreted in Tornado chart
OAT Scenario Curves |  | One-at-a-Time (OAT) sensitivity analysis results, illustrating the impact of individual parameter variations on LCOH across different system scenarios
Two-parameters sensitivity |  | Evaluates the combined impact of variations in electrolyzer CAPEX and hydrogen storage costs on LCOH across case 1 and 2 configurations
Figure 1: Schematic diagram of integrated simulation and optimization framework used in the project for the input data
Figure 2: LCOH calculation formula used for economic assessment
2 stage compression

## Economic Assumptions
Technical and Economic Assumptions
Category | Parameter | Unit | Base value | Source / note
General | Discount rate | % | 6% | Assumption
General | Project lifetime | years | 20 | Assumption
PV | PV system CAPEX | € | 60000 | Base value for 60kWp, 1000€ per kWp, Source: https://iea-pvps.org/national_survey/nsr-austria-2024/
PV | PV lifetime | years | 25 | Assumption
PV | PV O&M rate | % of CAPEX/yr | 5% | https://www.frontiersin.org/journals/energy-research/articles/10.3389/fenrg.2024.1380543/full
PV | Installed PV capacity | kWp | 60 | array size: 190 × 320 W = 60 kWp
PV | PV CAPEX rate | €/kWp | 1000 | IEA PVPS Austria survey
Electrolyzer | Electrolyzer CAPEX | € | 60000 | https://h2-batarow.com/en/electrolyzer/ely-22
Electrolyzer | Electrolyzer system lifetime | years | 20 | Assumption
Electrolyzer | Electrolyzer O&M rate | % of CAPEX/yr | 2% | https://www.frontiersin.org/journals/energy-research/articles/10.3389/fenrg.2024.1380543/full
Electrolyzer | Stack replacement share | % of ELY CAPEX | 25% | https://www.frontiersin.org/journals/energy-research/articles/10.3389/fenrg.2024.1380543/full
Electrolyzer | Stack durability | full-load hours | 60000 | https://www.frontiersin.org/journals/energy-research/articles/10.3389/fenrg.2024.1380543/full
Compressor | Compressor CAPEX | € | 10000 | https://h2-batarow.com/en/compressor
Compressor | Compressor lifetime | years | 15 | Assumption
Compressor | Compressor O&M rate | % of CAPEX/yr | 4% | https://www.frontiersin.org/journals/energy-research/articles/10.3389/fenrg.2024.1380543/full
Storage | LP storage cost | €/kg H₂ capacity | 1000 | Assumption
Storage | HP storage cost | €/kg H₂ capacity | 683.8 | https://h2-batarow.com/en/s-1-eng
Storage | Storage lifetime | years | 20 | Assumption
Storage | Storage O&M rate | % of CAPEX/yr | 1% | Assumption
PV | PV CAPEX allocation to H₂ system | % | 100% | Editable: 100% = full PV CAPEX allocated to hydrogen
Electrolyzer | Electrolyzer SEC | kWh/kg H₂ | 55.52 | Simulink model result
Compressor | Compressor SEC | kWh/kg H₂ | 1.05 | Simulink model result
Revenue | Feed-in tariff | €/kWh | 0.045 | Assumption

## Case Inputs
Optimization Case Inputs
KPI | Unit | Case 1 | Case 2 | Notes
Case description | - | LP storage, demand-matching | HP storage, demand-matching | Optimization cases
Annual H₂ demand | kg/yr | 738.4 | 738.4 | Roaster demand
Annual H₂ production | kg/yr | 738.4 | 738.4 | Optimization summary
PV to electrolyzer | kWh/yr | 12990.855 | 13056.278 | Optimization summary
Total grid electricity | kWh/yr | 30640 | 30988.4962 | ELY + compressor + site; Optimization summary
PV exported | kWh/yr | 61558.93 | 61145.0593 | Optimization summary
Total grid electricity cost | €/yr | 2821.31 | 1309.66 | ELY + compressor + site grid cost; Optimization summary
Compressor energy | kWh/yr | 0 | 745.78 | Case 1 = 0
LP storage capacity | kg H₂ | 6.96 | 0 | Optimization summary
HP storage capacity | kg H₂ | 0 | 7.68 | Optimization summary
LP internal volume | m³ | 2.84 | 0 | Optimization summary
HP internal volume | m³ | 0 | 0.33 | Optimization summary
Reported storage investment | € | 6967.35 | 5254.77 | Cross-check only; cost sheet recalculates CAPEX
H₂ supplied to roaster | kg/yr | 738.4 | 738.4
Annual H₂ surplus | kg/yr | 0 | 0 | Production minus demand
Grid to electrolyzer | kWh/yr | 28003.76 | 28011.02 | Optimization summary
Grid to compressor | kWh/yr | 0 | 321.86 | Case 1 = 0
Grid to site loads | kWh/yr | 2636.47 | 2627.51 | Optimization summary
Grid cost – electrolyzer | €/yr | 2505.73 | 2454.29 | Optimization summary
Grid cost – compressor | €/yr | 0 | 30.69 | Case 1 = 0
Grid cost – site loads | €/yr | 315.57 | 314.41 | Optimization summary
PV to compressor | kWh/yr | 0 | 423.91 | Case 1 = 0
PV to site loads | kWh/yr | 7040.52 | 7049.48 | Optimization summary
Feed-in revenue | €/yr | 3077.94 | 3056.94 | Calculated from PV export × base tariff
Electrolyzer full-load hours | h/yr | 4099.5968 | 4099.5968 | = (Annual H2 * SEC of electrolyzer)/Power of Electrolyzer (10kW)
Gross annual system cost | €/yr | 18661.9258 | 18413.8718 | Calculated in Annualized Costs
Net annual system cost | €/yr | 15583.9858 | 15356.9318 | Gross cost less feed-in revenue

## Annualized Costs
Annualized Cost Calculation – Gross and Net of Feed-in Revenue
Cost component | Case 1 | Case 2 | Formula logic
PV annualized CAPEX | 4693.6031 | 4693.6031 | PV CAPEX × CRF(PV life)
Electrolyzer annualized CAPEX | 5231.0734 | 5231.0734 | ELY CAPEX × CRF(ELY life)
Compressor annualized CAPEX | 0 | 1029.6276 | Compressor CAPEX × CRF; zero in Case 1
LP storage CAPEX | 6960 | 0 | LP capacity × LP €/kg
HP storage CAPEX | 0 | 5251.584 | HP capacity × HP €/kg
LP storage annualized CAPEX | 606.8045 | 0 | LP CAPEX × CRF(storage life)
HP storage annualized CAPEX | 0 | 457.857 | HP CAPEX × CRF(storage life)
PV O&M | 3000 | 3000 | PV CAPEX × PV O&M rate
Electrolyzer O&M | 1200 | 1200 | ELY CAPEX × ELY O&M rate
Compressor O&M | 0 | 400 | Compressor CAPEX × O&M; zero in Case 1
Storage O&M | 69.6 | 52.5158 | (LP + HP CAPEX) × storage O&M
Stack replacement interval | 14.6356 | 14.6356 | Stack durability / FLH of electrolyzer
Stack replacement annual reserve | 1024.8992 | 1024.8992 | Stack replacement reserve using FLH
Annual grid electricity cost | 2821.31 | 1309.66 | Linked total grid cost from optimization
Feed-in revenue | 3077.94 | 3056.94 | PV export × feed-in tariff
Total annualized CAPEX | 10531.481 | 11412.1612 | Sum annualized CAPEX
Gross annual OPEX | 8130.4448 | 7001.7106 | O&M + replacement + grid cost
Gross annual system cost | 18661.9258 | 18413.8718 | CAPEX + gross OPEX
Net annual system cost | 15583.9858 | 15356.9318 | Gross cost − feed-in revenue
Note on B16: Dhakal Aditi: Full Load Hours = (mH2 annual * SEC of Elec)/Power of Elec Nreplacement interval = stack durability / FLH Replacement investment, Cstack = CAPEX of Elec * fstack Annual reserve = Cstack / Nreplacement interval

## LCOH
Levelized Cost of Hydrogen by Case – Gross, Net
Metric | Case 1 | Case 2
Annual H₂ production (kg/yr) | 738.4 | 738.4
H₂ supplied to roaster (kg/yr) | 738.4 | 738.4
PV contribution (€/kg produced) | 6.3565 | 6.3565
Electrolyzer contribution (€/kg produced) | 7.0843 | 7.0843
Compressor contribution (€/kg produced) | 0 | 1.3944
LP storage contribution (€/kg produced) | 0.82178 | 0
HP storage contribution (€/kg produced) | 0 | 0.62007
O&M + replacement contribution (€/kg produced) | 7.1901 | 7.7086
Grid electricity contribution (€/kg produced) | 3.8208 | 1.7736
Feed-in revenue credit (€/kg produced) | 4.1684 | 4.14
Gross production LCOH (€/kg) | 25.2735 | 24.9375 | *without revenue, all annual costs dividied by annual H2 produced
Net production LCOH (€/kg) | 21.1051 | 20.7976 | *with revenue, (annual cost - feed in revenue)/annual H2 produced
Gross annual system cost (€/yr) | 18661.9258 | 18413.8718
Net annual system cost (€/yr) | 15583.9858 | 15356.9318

## OAT-Sensitivity
LCOH Sensitivity Analysis | [12 empty] | Sensitivity Calculation
METHOD | One-at-a-time (OAT) | [11 empty] | Case index | Annual H2 | Base total | PV CAPEX | PV life | PV O&M | ELY CAPEX | ELY life | ELY O&M | Stack share | Stack durability | Comp CAPEX | Comp life | Comp O&M | LP CAPEX | HP CAPEX | Storage life | Storage O&M | Grid cost | Grid energy | Comp energy | Rate | ELY SEC | Comp SEC
Selected case | Case 1 | [11 empty] | 1 | 738.4 | 15583.9858 | 60000 | 25 | 0.05 | 60000 | 20 | 0.02 | 0.25 | 60000 | 10000 | 15 | 0.04 | 6960 | 0 | 20 | 0.01 | 2821.31 | 30640 | 0 | 0.06 | 55.52 | 1.01
Base LCOH (€/kg) | 21.1051
One-at-a-Time Sensitivity Inputs and Results | [12 empty] | Tornado Chart Data
Parameter | Unit | Base | Low | High | Low LCOH | High LCOH | Low Δ | High Δ | Lower endpoint | Range | Rank | Method | Parameter | Low Δ | High Δ | Impact
Grid electricity cost | multiplier | 1 | 0.8 | 1.2 | 20.3409 | 21.8692 | -0.76417 | 0.76417 | 20.3409 | 1.5283 | 5 | Scale annual grid cost | Discount rate | -2.3886 | 2.5857 | 4.9743
PV Investment CAPEX | multiplier | 1 | 0.8 | 1.2 | 19.0212 | 23.1889 | -2.0839 | 2.0839 | 19.0212 | 4.1677 | 2 | PV annualized CAPEX + PV O&M | Electrolyzer CAPEX | -2.0195 | 2.0195 | 4.039
Electrolyzer CAPEX | multiplier | 1 | 0.8 | 1.2 | 19.0856 | 23.1246 | -2.0195 | 2.0195 | 19.0856 | 4.039 | 3 | ELY annualized CAPEX + O&M + stack reserve | PV Investment CAPEX | -2.0839 | 2.0839 | 4.1677
Compressor CAPEX | multiplier | 1 | 0.8 | 1.2 | 21.1051 | 21.1051 | 0 | 0 | 21.1051 | 0 | 10 | Compressor annualized CAPEX + O&M | Electrolyzer lifetime | 1.2821 | -0.72789 | 2.01
LP storage cost | multiplier | 1 | 0.8 | 1.2 | 20.9219 | 21.2883 | -0.18321 | 0.18321 | 20.9219 | 0.36642 | 8 | LP annualized CAPEX + O&M | Grid electricity cost | -0.76417 | 0.76417 | 1.5283
HP storage cost | multiplier | 1 | 0.8 | 1.2 | 21.1051 | 21.1051 | 0 | 0 | 21.1051 | 0 | 10 | HP annualized CAPEX + O&M | PV lifetime | 0.72789 | -0.45323 | 1.1811
Discount rate | % | 6% | 4% | 8% | 18.7165 | 23.6908 | -2.3886 | 2.5857 | 18.7165 | 4.9743 | 1 | Recalculate all CRFs | Electrolyzer SEC | -0.19132 | 0.19132 | 0.38263
PV lifetime | years | 25 | 20 | 30 | 21.833 | 20.6518 | 0.72789 | -0.45323 | 20.6518 | 1.1811 | 6 | Recalculate PV CRF | LP storage cost | -0.18321 | 0.18321 | 0.36642
Electrolyzer lifetime | years | 20 | 15 | 25 | 22.3872 | 20.3772 | 1.2821 | -0.72789 | 20.3772 | 2.01 | 4 | Recalculate ELY CRF | Storage lifetime | 0.14872 | -0.084435 | 0.23316
Storage lifetime | years | 20 | 15 | 25 | 21.2538 | 21.0206 | 0.14872 | -0.084435 | 21.0206 | 0.23316 | 9 | Recalculate storage CRFs | Compressor CAPEX | 0 | 0 | 0
Electrolyzer SEC | kWh/kg | 55.52 | 52.74 | 58.3 | 20.9138 | 21.2964 | -0.19132 | 0.19132 | 20.9138 | 0.38263 | 7 | Scale grid cost at fixed dispatch shares | HP storage cost | 0 | 0 | 0
Compressor SEC | kWh/kg | 1.01 | 0.8 | 1.3 | 21.1051 | 21.1051 | 0 | 0 | 21.1051 | 0 | 10 | Scale compressor-related grid energy | Compressor SEC | 0 | 0 | 0
Findings
Case 1 and 2 | 1. Discount rate has highest influence, suggests that project economics depends on financing conditions and cost of capital.
2. PV CAPEX is the major driver
3. Electrolyzer CAPEX is equally important

## OAT Scenario Curves
Scenario Curves
Selected case | Case 1 | [19 empty] | Case idx | 1
Base LCOH | 21.1051 | [19 empty] | Annual H2 | 738.4
[21 empty] | Base net annual system cost | 15583.9858
Electrolyzer CAPEX |  |  |  | PV CAPEX |  |  |  |  | Electrolyzer SEC Curve |  |  |  | Discount Rate |  |  |  | Grid Cost Curve |  |  |  | Base total grid cost | 2821.31
Multiplier | LCOH | Change | Selected Case | Multiplier | LCOH | Change | Selected Case |  | ELY SEC (kWh/kg) | LCOH | Change | Selected case | Rate | LCOH | Change | Selected case | Multiplier | LCOH | Change | Selected case | Base net LCOH | 21.1051
0.5 | 17.5629 | -3.5422 | Case 1 | 0.5 | 17.9268 | -3.1782 | Case 1 |  | 50 | 20.7677 | -0.33739 | Case 1 | 3% | 17.6042 | -3.5009 | Case 1 | 0.5 | 19.1947 | -1.9104 | Case 1 | Grid Cost - Electrolyzer | 2505.73
0.6 | 18.2713 | -2.8337 | Case 1 | 0.6 | 18.5625 | -2.5426 | Case 1 |  | 52 | 20.8899 | -0.21515 | Case 1 | 3.6% | 18.2647 | -2.8403 | Case 1 | 0.6 | 19.5767 | -1.5283 | Case 1
0.7 | 18.9798 | -2.1253 | Case 1 | 0.7 | 19.1981 | -1.9069 | Case 1 |  | 54 | 21.0122 | -0.092904 | Case 1 | 4.2% | 18.9457 | -2.1593 | Case 1 | 0.7 | 19.9588 | -1.1463 | Case 1
0.8 | 19.6882 | -1.4169 | Case 1 | 0.8 | 19.8338 | -1.2713 | Case 1 |  | 55.52 | 21.1051 | 0 | Case 1 | 4.8% | 19.6466 | -1.4585 | Case 1 | 0.8 | 20.3409 | -0.76417 | Case 1
0.9 | 20.3966 | -0.70843 | Case 1 | 0.9 | 20.4694 | -0.63565 | Case 1 |  | 57 | 21.1955 | 0.09046 | Case 1 | 5.4% | 20.3666 | -0.73849 | Case 1 | 0.9 | 20.723 | -0.38208 | Case 1
1 | 21.1051 | 0 | Case 1 | 1 | 21.1051 | 0 | Case 1 |  | 59 | 21.3178 | 0.2127 | Case 1 | 6% | 21.1051 | 0 | Case 1 | 1 | 21.1051 | 0 | Case 1
1.1 | 21.8135 | 0.70843 | Case 1 | 1.1 | 21.7407 | 0.63565 | Case 1 |  | 61 | 21.44 | 0.33495 | Case 1 | 6.6% | 21.8613 | 0.75625 | Case 1 | 1.1 | 21.4872 | 0.38208 | Case 1
1.2 | 22.5219 | 1.4169 | Case 1 | 1.2 | 22.3764 | 1.2713 | Case 1 | [5 empty] | 7.2% | 22.6346 | 1.5295 | Case 1 | 1.2 | 21.8692 | 0.76417 | Case 1
1.3 | 23.2304 | 2.1253 | Case 1 | 1.3 | 23.012 | 1.9069 | Case 1 | [5 empty] | 7.8% | 23.4241 | 2.319 | Case 1 | 1.3 | 22.2513 | 1.1463 | Case 1
1.4 | 23.9388 | 2.8337 | Case 1 | 1.4 | 23.6477 | 2.5426 | Case 1 | [5 empty] | 8.4% | 24.2291 | 3.1241 | Case 1 | 1.4 | 22.6334 | 1.5283 | Case 1
1.5 | 24.6472 | 3.5422 | Case 1 | 1.5 | 24.2833 | 3.1782 | Case 1 | [5 empty] | 9% | 25.0489 | 3.9438 | Case 1 | 1.5 | 23.0155 | 1.9104 | Case 1
System economics is not highly sensitive to electrolyzer efficiency.
At 50% reduction in electricity cost, LCOH reduces by 1.9eur/kg.
Electrolyzer CAPEX infuence is higher and linear | [16 empty] | Electricity price has stronger influence on LCOH than SEC.
But not all the time.
If electricity becomes expensive, electrolyzer can operate differently looking at the price hour, PV utilization could change, storage usage could change (we can opt for more storage than required). This will ultimately make grid cost vs LCOH non- linear
|  |  |  | Case | Factor | PV CAPEX | Electrolyzer CAPEX | Grid Cost | Discount Rate
|  |  |  | Case 1 | 0.5 | 17.9268 | 17.5629 | 19.1947 | 17.6042
|  |  |  | Case 1 | 0.6 | 18.5625 | 18.2713 | 19.5767 | 18.2647
|  |  |  | Case 1 | 0.7 | 19.1981 | 18.9798 | 19.9588 | 18.9457
|  |  |  | Case 1 | 0.8 | 19.8338 | 19.6882 | 20.3409 | 19.6466
|  |  |  | Case 1 | 0.9 | 20.4694 | 20.3966 | 20.723 | 20.3666
|  |  |  | Case 1 | 1 | 21.1051 | 21.1051 | 21.1051 | 21.1051
|  |  |  | Case 1 | 1.1 | 21.7407 | 21.8135 | 21.4872 | 21.8613
|  |  |  | Case 1 | 1.2 | 22.3764 | 22.5219 | 21.8692 | 22.6346
|  |  |  | Case 1 | 1.3 | 23.012 | 23.2304 | 22.2513 | 23.4241
|  |  |  | Case 1 | 1.4 | 23.6477 | 23.9388 | 22.6334 | 24.2291
|  |  |  | Case 1 | 1.5 | 24.2833 | 24.6472 | 23.0155 | 25.0489

## Two-parameters sensitivity
Two-Way LCOH Sensitivity Analysis
METHOD |  | Two-parameter (bivariate) sensitivity | [5 empty] | Case idx | 1
Selected case |  | Case 1 | [5 empty] | Annual H2 (Kg) | 738.4
Base LCOH (€/kg) |  | 21.1051 | [5 empty] | Base net annual system cost | 15583.9858
[8 empty] | ELY-sensitive annual cost (€/yr) | 7455.9726
Electrolyzer CAPEX × Storage Cost — LCOH Matrix (€/kg H₂) | [7 empty] | Storage-sensitive annual cost (€/yr) | 676.4045
ELY CAPEX ↓ / Storage cost → | 50% | 60% | 80% | 100% | 120% | 140% | 150% | Base net LCOH | 21.1051
50% | 15.5983 | 15.6899 | 15.8731 | 16.0563 | 16.2395 | 16.4228 | 16.5144
60% | 16.6081 | 16.6997 | 16.8829 | 17.0661 | 17.2493 | 17.4325 | 17.5241
80% | 18.6276 | 18.7192 | 18.9024 | 19.0856 | 19.2688 | 19.452 | 19.5436
100% | 20.6471 | 20.7387 | 20.9219 | 21.1051 | 21.2883 | 21.4715 | 21.5631
120% | 22.6665 | 22.7582 | 22.9414 | 23.1246 | 23.3078 | 23.491 | 23.5826
140% | 24.686 | 24.7776 | 24.9609 | 25.1441 | 25.3273 | 25.5105 | 25.6021
150% | 25.6958 | 25.7874 | 25.9706 | 26.1538 | 26.337 | 26.5202 | 26.6118
Interpretation
Each cell shows net production LCOH when Electrolyzer CAPEX and storage cost are varied simultaneously.
100% / 100% is the selected case base LCOH.
Electrolyzer CAPEX variation includes annualized ELY CAPEX, ELY O&M and stack replacement reserve
Storage cost variation includes LP + HP annualized storage CAPEX and storage O&M;
Electrolyzer CAPEX × Storage Cost — LCOH Matrix (€/kg H₂)
ELY CAPEX ↓ / Storage cost → | 50% | 75% | 100% | 125% | 150%
50% | 15.5983 | 15.8273 | 16.0563 | 16.2853 | 16.5144
75% | 18.1227 | 18.3517 | 18.5807 | 18.8097 | 19.0387
100% | 20.6471 | 20.8761 | 21.1051 | 21.3341 | 21.5631
125% | 23.1714 | 23.4004 | 23.6294 | 23.8585 | 24.0875
150% | 25.6958 | 25.9248 | 26.1538 | 26.3828 | 26.6118